## Slide 1: Optical Spectroscopy of Hydrogenic Atoms: Rydberg fits of 1H and 2H, and Determination of the mass ratio
Tony Hyun Kim
(Partner: Connor McEntee)
10/31/2008
8.13 MW2-5 Prof. Roland

## Slide 2: Topics to be discussed
Introduction
  Historical context
  Quantum mechanics of atomic emission
Experimental setup
Analysis and Results
  Fitting the lineshape
  Mercury calibration
  Hydrogen and deuterium fits
Sources of Error; Possible improvements
Conclusions
  Verification of the hydrogen Rydberg
  Estimate of the hydrogen-deuterium mass ratio

## Slide 3: Atomic spectra: a historical context
By 19th century, tremendous amounts of atomic spectral data collected.
What are the underlying mathematical patterns and the physical explanations?

## Slide 4: Atomic spectra: a historical context
By 19th century, tremendous amounts of atomic spectral data collected.
What are the underlying mathematical patterns and the physical explanations?

## Slide 5: QM of the optical electron
Reduced, one-body SE yields eigenenergies:
Light emitted when electron undergoes transition: ni  nf

## Slide 6: Experimental setup: Basic principles
Used JY1250M monochromator (R ~ 104  0.03 A step size!)
Counter indicates the orientation of grating

## Slide 7: Experimental setup parameters
Slit sizes: quality of lineshape vs. signal size
Integration time: -error vs. patience

## Slide 8: Experimental setup parameters
Slit sizes: quality of lineshape vs. signal size
Integration time: -error vs. patience
Most important:
Shot-to-shot repeatability!
0.17 A

## Slide 9: Typical monochromator data
Voigt gives better fit than Gaussian, but the means agree!
Typical errors in fitted mean: ~0.001 A

## Slide 10: Mercury calibration
Monochromator’s counter is not physically accurate
Produced quadratic conversion function:

## Slide 12: Results: Hydrogen Rydberg
Published value of Rydberg constant:
Our measured value:
Correct for index of refraction of air (n = 1.0003)

## Slide 13: Results: 1H/2H mass ratio
From …
  Compute mD using known values of me, mp (NIST)
  Published value:

## Slide 14: An improved optical setup
Since we regard the Hg-lines as “ruler”…
Scheme for circumventing the 0.17A mechanical error:
Especially useful for isotope shift measurement
Superimpose sources
Monochromator
Input

## Slide 15: Conclusions
Performed spectroscopy of 1H/2H
The Rydberg formula for hydrogen was confirmed. Remarkable agreement with published values:
Ratio of Rydberg constants was used to deduce mass ratio: